## Cover page
Supplement to Piesz et al. (2022)
Dis Aquat Org 151: 111–121
https://doi.org/10.3354/dao03694

## Table S1
Table S1. Comparison of the performance of the multiplex qPCR on the Roche and BioRad thermocyclers
for the detection of Perkinsus marinus (Pm), Haplosporidium nelsoni (Hn), and Haplosporidium costale (Hc).
Ct values above the limit of detection are provided for each sample and pathogen. No pathogen detection is signified with dashes.
The coefficent of variation between platforms was calculated for each sample using the average (AVG) and standard deviation (STD).
Sample ID | Pm Ct |  | Hn Ct |  | Hc Ct |  | Pm |  | Hn |  | Hc |  | Pm | Hn | Hc
| Roche | BioRad | Roche | BioRad | Roche | BioRad | AVG | STD | AVG | STD | AVG | STD | Coefficient of variation
1 | 34.5568 | 36.85 | - | - | - | - | 35.7034 | 1.6215 | - | - | - | - | 4.5416 | - | -
2 | 34.6542 | - | 21.6579 | 20.87 | - | - | - | - | 21.2639 | 0.55711 | - | - | - | 2.62 | -
3 | - | - | 20.3362 | 19.55 | - | - | - | - | 19.9431 | 0.55593 | - | - | - | 2.7876 | -
4 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
6 | 23.0981 | 24.11 | 21.6882 | 21.36 | - | - | 23.6041 | 0.71551 | 21.5241 | 0.23207 | - | - | 3.0313 | 1.0782 | -
7 | 20.3434 | 20.99 | 19.5297 | 19.14 | - | - | 20.6667 | 0.45719 | 19.3348 | 0.27554 | - | - | 2.2122 | 1.4251 | -
8 | 29.144 | 30.34 | 17.6381 | 16.35 | - | - | 29.742 | 0.84573 | 16.9941 | 0.91084 | - | - | 2.8436 | 5.3597 | -
9 | 22.4745 | 21.62 | 26.5306 | 24.79 | - | - | 22.0473 | 0.60424 | 25.6603 | 1.2308 | - | - | 2.7407 | 4.7964 | -
10 | 30.7614 | 31.51 | 23.5107 | 22.01 | - | - | 31.1357 | 0.52934 | 22.7603 | 1.0612 | - | - | 1.7001 | 4.6623 | -
11 | 25.8266 | 26.12 | - | - | - | - | 25.9733 | 0.20748 | - | - | - | - | 0.79883 | - | -
12 | - | - | - | - | 29.6379 | 29.46 | - | - | - | - | 29.5489 | 0.12579 | - | - | 0.42571
13 | - | - | - | - | 29.6032 | 31.61 | - | - | - | - | 30.6066 | 1.419 | - | - | 4.6364
14 | - | - | - | - | 31.7783 | 33.23 | - | - | - | - | 32.5041 | 1.0265 | - | - | 3.1582
15 | 35.1282 | 36.12 | - | - | 24.3188 | 23.59 | 35.6241 | 0.70131 | - | - | 23.9544 | 0.51533 | 1.9686 | - | 2.1513
16 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
17 | - | - | - | - | 29.2209 | 28.69 | - | - | - | - | 28.9555 | 0.37542 | - | - | 1.2966
18 | 35.0013 | 36.99 | - | - | - | - | 35.9956 | 1.4062 | - | - | - | - | 3.9066 | - | -
19 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
20 | 33.7887 | 32.95 | 22.9914 | 20.21 | - | - | 33.3693 | 0.59305 | 21.6007 | 1.9668 | - | - | 1.7772 | 9.1051 | -
21 | 24.8498 | 25.76 | 23.431 | 22.6 | - | - | 25.3049 | 0.64361 | 23.0155 | 0.58762 | - | - | 2.5434 | 2.5531 | -
22 | 29.0091 | 28.76 | 29.0357 | 27.73 | 31.73 | - | 28.8846 | 0.17616 | 28.3828 | 0.92324 | - | - | 0.60988 | 3.2528 | -
23 | - | - | - | - | 30.1183 | 30.31 | - | - | - | - | 30.2141 | 0.13557 | - | - | 0.4487
24 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
25 | - | - | 22.7072 | 20.71 | - | - | - | - | 21.7086 | 1.4123 | - | - | - | 6.5055 | -
26 | - | - | 23.9188 | 23.22 | - | - | - | - | 23.5694 | 0.49411 | - | - | - | 2.0964 | -
27 | 31.5062 | 33.99 | 23.5249 | 22.36 | - | - | 32.7481 | 1.7563 | 22.9425 | 0.82373 | - | - | 5.3632 | 3.5904 | -
28 | 36.43 | - | 30.0044 | 28.58 | - | - | - | - | 29.2922 | 1.0072 | - | - |  | 3.4386 | -
29 | 33.8527 | 33.03 | 29.4631 | 28.43 | - | - | 33.4413 | 0.58172 | 28.9465 | 0.73048 | - | - | 1.7395 | 2.5236 | -
30 | 32.726 | 32.79 | 28.6973 | 27.94 | - | - | 32.758 | 0.045255 | 28.3187 | 0.53551 | - | - | 0.13815 | 1.891 | -
31 | 33.7829 | 34.27 | 30.9436 | 30.53 | - | - | 34.0265 | 0.34442 | 30.7368 | 0.29248 | - | - | 1.0122 | 0.95156 | -
32 | 35.3279 | 36.33 | - | 33.97 | - | - | 35.8289 | 0.7086 | - | - | - | - | 1.9777 |  | -
33 | 36.1222 | - | 16.0888 | 15.51 | - | - | - | - | 15.7994 | 0.40928 | - | - | - | 2.5905 | -
34 | 31.3775 | 34.57 | 27.9708 | 27.52 | - | - | 32.9738 | 2.2574 | 27.7454 | 0.31874 | - | - | 6.8461 | 1.1488 | -
[13 empty] | 2.5417 | 3.283 | 2.0195 | AVG
[13 empty] | 1.7201 | 2.066 | 1.6548 | STD

## Table S2
Table S2. Intrassay variation on the Roche (URI) and BioRad (RWU) platforms.
Ct values above the limit of detection are provided for each sample and their replicate.
No pathogen detection is signified with dashes. The coefficent of variation between the
replicate wells of a sample for each platform was calculated using
the average (AVG) and standard deviation (STD).
Sample ID | Perkinsus marinus
| Roche |  |  |  |  | BioRad
| Well 1 | Well 2 | AVG | STD | CV | Well 1 | Well 2 | AVG | STD | CV
1 | 34.65 | 34.46 | 34.555 | 0.13435 | 0.3888 | 36.69 | 37.01 | 36.85 | 0.22627 | 0.61404
2 | 34.73 | 34.58 | 34.655 | 0.10607 | 0.30606 | - | - | - | - | -
3 | - | - | - | - | - | - | - | - | - | -
4 | - | - | - | - | - | - | - | - | - | -
5 | - | - | - | - | - | - | - | - | - | -
6 | 22.93 | 23.27 | 23.1 | 0.24042 | 1.0408 | 24.06 | 24.16 | 24.11 | 0.070711 | 0.29328
7 | 20.15 | 20.54 | 20.345 | 0.27577 | 1.3555 | 21.02 | 20.96 | 20.99 | 0.042426 | 0.20213
8 | 29.15 | 29.14 | 29.145 | 0.0070711 | 0.024262 | 30.18 | 30.51 | 30.345 | 0.23335 | 0.76897
9 | 22.43 | 22.52 | 22.475 | 0.06364 | 0.28316 | 21.58 | 21.66 | 21.62 | 0.056569 | 0.26165
10 | 30.78 | 30.74 | 30.76 | 0.028284 | 0.091951 | 31.29 | 31.73 | 31.51 | 0.31113 | 0.98739
11 | 25.85 | 25.81 | 25.83 | 0.028284 | 0.1095 | 26.06 | 26.17 | 26.115 | 0.077782 | 0.29784
12 | - | - | - | - | - | - | - | - | - | -
13 | - | - | - | - | - | - | - | - | - | -
14 | - | - | - | - | - | - | - | - | - | -
15 | 34.96 | 35.3 | 35.13 | 0.24042 | 0.68436 | 36.19 | 36.06 | 36.125 | 0.091924 | 0.25446
16 | - | - | - | - | - | - | - | - | - | -
17 | - | - | - | - | - | - | - | - | - | -
18 | 35 | 35 | 35 | 0 | 0 | 37.01 | 36.97 | 36.99 | 0.028284 | 0.076465
19 | - | - | - | - | - | - | - | - | - | -
20 | 33.72 | 33.86 | 33.79 | 0.098995 | 0.29297 | 31.94 | 33.97 | 32.955 | 1.4354 | 4.3557
21 | 22.52 | 27.18 | 24.85 | 3.2951 | 13.26 | 25.64 | 25.89 | 25.765 | 0.17678 | 0.68611
22 | 29 | 29.02 | 29.01 | 0.014142 | 0.048749 | 28.43 | 29.1 | 28.765 | 0.47376 | 1.647
23 | - | - | - | - | - | - | - | - | - | -
24 | - | - | - | - | - | - | - | - | - | -
25 | - | - | - | - | - | - | - | - | - | -
26 | - | - | - | - | - | - | - | - | - | -
27 | 31.55 | 31.46 | 31.505 | 0.06364 | 0.202 | 33.92 | 34.06 | 33.99 | 0.098995 | 0.29125
28 | 37.05 | 35.81 | 36.43 | 0.87681 | 2.4068
29 | 33.74 | 33.96 | 33.85 | 0.15556 | 0.45957 | 35.18 | 30.89 | 33.035 | 3.0335 | 9.1826
30 | 32.36 | 33.09 | 32.725 | 0.51619 | 1.5774 | 33.72 | 31.86 | 32.79 | 1.3152 | 4.011
31 | 33.44 | 34.13 | 33.785 | 0.4879 | 1.4441 | 33.43 | 35.11 | 34.27 | 1.1879 | 3.4664
32 | 35.3 | 35.36 | 35.33 | 0.042426 | 0.12009 | 36.39 | 36.28 | 36.335 | 0.077782 | 0.21407
33 | 35.79 | 36.46 | 36.125 | 0.47376 | 1.3115 | - | - | - | - | -
34 | 32.49 | 30.26 | 31.375 | 1.5768 | 5.0258 | 34.82 | 34.31 | 34.565 | 0.36062 | 1.0433
|  |  |  | AVG | 1.4492 |  |  |  | AVG | 1.5919
|  |  |  | STD | 2.9424 |  |  |  | STD | 2.3324
Table S2 (b). Intrassay variation on the Roche (URI) and BioRad (RWU) platforms.
Sample ID | Haplosporidium nelsoni
| Roche |  |  |  |  | BioRad
| Well 1 | Well 2 | AVG | STD | CV | Well 1 | Well 2 | AVG | STD | CV
1 | - | - | - | - | - | - | - | - | - | -
2 | 21.65 | 21.67 | 21.66 | 0.014142 | 0.065291 | 20.84 | 20.9 | 20.87 | 0.042426 | 0.20329
3 | 20.32 | 20.35 | 20.335 | 0.021213 | 0.10432 | 19.51 | 19.59 | 19.55 | 0.056569 | 0.28935
4 | - | - | - | - | - | - | - | - | - | -
5 | - | - | - | - | - | - | - | - | - | -
6 | 21.52 | 21.86 | 21.69 | 0.24042 | 1.1084 | 21.26 | 21.46 | 21.36 | 0.14142 | 0.66209
7 | 19.34 | 19.72 | 19.53 | 0.2687 | 1.3758 | 19.16 | 19.13 | 19.145 | 0.021213 | 0.1108
8 | 17.65 | 17.63 | 17.64 | 0.014142 | 0.080171 | 16.22 | 16.49 | 16.355 | 0.19092 | 1.1673
9 | 26.48 | 26.58 | 26.53 | 0.070711 | 0.26653 | 24.73 | 24.84 | 24.785 | 0.077782 | 0.31383
10 | 23.54 | 23.49 | 23.515 | 0.035355 | 0.15035 | 21.86 | 22.15 | 22.005 | 0.20506 | 0.93188
11 | - | - | - | - | - | - | - | - | - | -
12 | - | - | - | - | - | - | - | - | - | -
13 | - | - | - | - | - | - | - | - | - | -
14 | - | - | - | - | - | - | - | - | - | -
15 | - | - | - | - | - | - | - | - | - | -
16 | - | - | - | - | - | - | - | - | - | -
17 | - | - | - | - | - | - | - | - | - | -
18 | - | - | - | - | - | - | - | - | - | -
19 | - | - | - | - | - | - | - | - | - | -
20 | 22.86 | 23.13 | 22.995 | 0.19092 | 0.83026 | 19.27 | 21.15 | 20.21 | 1.3294 | 6.5777
21 | 21.13 | 25.73 | 23.43 | 3.2527 | 13.8826 | 22.88 | 22.32 | 22.6 | 0.39598 | 1.7521
22 | 29.03 | 29.04 | 29.035 | 0.0070711 | 0.024354 | 27.35 | 28.11 | 27.73 | 0.5374 | 1.938
23 | - | - | - | - | - | - | - | - | - | -
24 | - | - | - | - | - | - | - | - | - | -
25 | 22.76 | 22.66 | 22.71 | 0.070711 | 0.31136 | 20.71 | 20.7 | 20.705 | 0.0070711 | 0.034151
26 | 24.04 | 23.8 | 23.92 | 0.16971 | 0.70947 | 23.22 | 23.22 | 23.22 | 0 | 0
27 | 23.75 | 23.3 | 23.525 | 0.3182 | 1.3526 | 22.27 | 22.44 | 22.355 | 0.12021 | 0.53772
28 | 29.99 | 30.01 | 30 | 0.014142 | 0.04714 | 28.54 | 28.62 | 28.58 | 0.056569 | 0.19793
29 | 29.59 | 29.34 | 29.465 | 0.17678 | 0.59995 | 28.54 | 28.31 | 28.425 | 0.16263 | 0.57215
30 | 28.54 | 28.85 | 28.695 | 0.2192 | 0.76391 | 28.08 | 27.8 | 27.94 | 0.19799 | 0.70863
31 | 30.76 | 31.13 | 30.945 | 0.26163 | 0.84547 | 30.45 | 30.6 | 30.525 | 0.10607 | 0.34747
32 | - | - | - | - | - | 34.16 | 33.78 | 33.97 | 0.2687 | 0.79099
33 | 16.09 | 16.09 | 16.09 | 0 | 0 | 15.51 | 15.52 | 15.515 | 0.0070711 | 0.045576
34 | 27.97 | 27.97 | 27.97 | 0 | 0 | 27.51 | 27.54 | 27.525 | 0.021213 | 0.077069
|  |  |  | AVG | 1.1852 |  |  |  | AVG | 0.86291
|  |  |  | STD | 3.1096 |  |  |  | STD | 1.4513
Table S2 (c). Intrassay variation on the Roche (URI) and BioRad (RWU) platforms.
Sample ID | Haplosporidium costale
| Roche |  |  |  |  | BioRad
| Well 1 | Well 2 | AVG | STD | CV | Well 1 | Well 2 | AVG | STD | CV
1 | - | - | - | - | - | - | - | - | - | -
2 | - | - | - | - | - | - | - | - | - | -
3 | - | - | - | - | - | - | - | - | - | -
4 | - | - | - | - | - | - | - | - | - | -
5 | - | - | - | - | - | - | - | - | - | -
6 | - | - | - | - | - | - | - | - | - | -
7 | - | - | - | - | - | - | - | - | - | -
8 | - | - | - | - | - | - | - | - | - | -
9 | - | - | - | - | - | - | - | - | - | -
10 | - | - | - | - | - | - | - | - | - | -
11 | - | - | - | - | - | - | - | - | - | -
12 | 29.66 | 29.61 | 29.635 | 0.035355 | 0.1193 | 29.15 | 29.76 | 29.455 | 0.43134 | 1.4644
13 | 29.57 | 29.63 | 29.6 | 0.042426 | 0.14333 | 31.87 | 31.35 | 31.61 | 0.3677 | 1.1632
14 | 31.77 | 31.79 | 31.78 | 0.014142 | 0.0445 | 33.11 | 33.35 | 33.23 | 0.16971 | 0.5107
15 | 24.26 | 24.38 | 24.32 | 0.084853 | 0.3489 | 23.29 | 23.909 | 23.5995 | 0.4377 | 1.8547
16 | - | - | - | - | - | - | - | - | - | -
17 | 29.13 | 29.31 | 29.22 | 0.12728 | 0.43559 | 28.67 | 28.72 | 28.695 | 0.035355 | 0.12321
18 | - | - | - | - | - | - | - | - | - | -
19 | - | - | - | - | - | - | - | - | - | -
20 | - | - | - | - | - | - | - | - | - | -
21 | - | - | - | - | - | - | - | - | - | -
22 | 31.73 | 31.73 | 31.73 | 0 | 0 | - | - | - | - | -
23 | 29.97 | 30.27 | 30.12 | 0.21213 | 0.70429 | 30.11 | 30.51 | 30.31 | 0.28284 | 0.93317
24 | - | - | - | - | - | - | - | - | - | -
25 | - | - | - | - | - | - | - | - | - | -
26 | - | - | - | - | - | - | - | - | - | -
27 | - | - | - | - | - | - | - | - | - | -
28 | - | - | - | - | - | - | - | - | - | -
29 | - | - | - | - | - | - | - | - | - | -
30 | - | - | - | - | - | - | - | - | - | -
31 | - | - | - | - | - | - | - | - | - | -
32 | - | - | - | - | - | - | - | - | - | -
33 | - | - | - | - | - | - | - | - | - | -
34 | - | - | - | - | - | - | - | - | - | -
|  |  |  | AVG | 0.25656 |  |  |  | AVG | 1.0082
|  |  |  | STD | 0.25282 |  |  |  | STD | 0.63009

## Table S3
Table S3. Concordance between histology and multiplex qPCR in the detectiom of Perkinsus marinus, Haplosporidium nelsoni, and Haplosporidium costale.
Average Ct values above the limit of detection are provided for each sample and pathogen.
No pathogen detection is signified with dashes. Concordance between detection methods is indicated as "Yes" or "No."
| Perkinsus marinus |  |  | Haplosporidium nelsoni |  |  | Haplosporidium costale
Sample ID | Avg Ct | Histology | Concordance | Avg Ct | Histology | Concordance | Avg Ct | Histology | Concordance | Positive all three parasites by qPCR | Positive MSX + SSO by qPCR | Positive MSX + SSO by histology
1 | 31.9783 | Neg | No | - | Pos | No | - | Neg | Yes
2 | 35.04 | Neg | No | - | Neg | Yes | - | Neg | Yes
3 | 36.78 | Neg | No | - | Neg | Yes | - | Neg | Yes
4 | 31.62 | Neg | No | - | Neg | Yes | - | Neg | Yes
5 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
6 | - | Neg | Yes | 27.8833 | Neg | No | - | Neg | Yes
7 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
8 | 26.78 | Pos | Yes | 26.78 | Neg | No | - | Neg | Yes
9 | 34.9011 | Neg | No | 23.4588 | Pos | Yes | - | Neg | Yes
10 | - | Neg | Yes | 21.8828 | Pos | Yes | - | Pos | No |  |  | yes
11 | - | Neg | Yes | 29.5662 | Neg | No | - | Neg | Yes
12 | 31.945 | Neg | No | 30.8049 | Pos | Yes | - | Neg | Yes
13 | 27.0513 | Neg | No | 26.9218 | Pos | Yes | - | Neg | Yes
14 | 29.0375 | Pos | Yes | 29.9853 | Neg | No | - | Neg | Yes
15 | 30.7071 | Neg | No | 30.3075 | Neg | No | - | Neg | Yes
16 | 28.2216 | Neg | No | 31.6996 | Neg | No | - | Neg | Yes
17 | 30.1099 | Neg | No | 31.6045 | Neg | No | - | Neg | Yes
18 | 33.9212 | Neg | No | - | Neg | Yes | - | Neg | Yes
19 | 36.0639 | Neg | No | - | Neg | Yes | - | Neg | Yes
20 | 34.9453 | Neg | No | - | Pos | No | - | Neg | Yes
21 | - | Neg | Yes | 26.0934 | Neg | No | - | Neg | Yes
22 | 35.7089 | Neg | No | - | Neg | Yes | - | Neg | Yes
23 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
24 | - | Neg | Yes | 18.345 | Pos | Yes | - | Pos | No |  |  | yes
25 | - | Neg | Yes | 27.0213 | Neg | No | - | Neg | Yes
26 | - | Neg | Yes | 28.6831 | Neg | No | - | Neg | Yes
27 | 32.1564 | Neg | No | 27.8756 | Neg | No | - | Neg | Yes
28 | 35.3766 | Neg | No | 19.6943 | Neg | No | - | Neg | Yes
29 | - | Neg | Yes | 28.5683 | Pos | Yes | - | POS | No |  |  | yes
30 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
31 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
32 | 35.9313 | Neg | No | - | Neg | Yes | - | Neg | Yes
33 | 29.4653 | Neg | No | 31.0637 | Neg | No | - | Neg | Yes
34 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
35 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
36 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
37 | - | Neg | Yes | 31.4564 | Neg | No | - | Neg | Yes
38 | 36.31 | Neg | No | 27.9307 | Neg | No | - | Neg | Yes
39 | 35.6633 | Neg | No | 31.9483 | Neg | No | - | Neg | Yes
40 | 31.4808 | Neg | No | - | Pos | No | - | Neg | Yes
41 | 35.8897 | Neg | No | - | Neg | Yes | - | Neg | Yes
42 | - | Neg | Yes | 31.6587 | Neg | No | - | Neg | Yes
43 | 34.5943 | Neg | No | - | Neg | Yes | - | Neg | Yes
44 | 29.4441 | Neg | No | 28.0376 | Neg | No | - | Neg | Yes
45 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
46 | - | Neg | Yes | 25.0438 | Pos | Yes | - | Pos | No |  |  | yes
47 | - | Neg | Yes | 19.9217 | Pos | Yes | - | Pos | No |  |  | yes
48 | - | Neg | Yes | 29.98 | Neg | No | - | Neg | Yes
49 | 36.6851 | Neg | No | 29.2135 | Neg | No | - | Neg | Yes
50 | 36.3251 | Neg | No | - | Neg | Yes | - | Neg | Yes
51 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
52 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
53 | 35.8278 | Neg | No | - | Neg | Yes | - | Neg | Yes
54 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
55 | 22.8329 | Pos | Yes | 28.218 | Neg | No | - | Neg | Yes
56 | 31.6922 | Neg | No | 28.7908 | Neg | No | - | Neg | Yes
57 | 31.1248 | Neg | No | 17.7814 | Neg | No | 23.0493 | Neg | No | yes | yes
58 | 35.7839 | Neg | No | 26.468 | Pos | Yes | - | Pos | No |  |  | yes
59 | 36.1582 | Neg | No | 29.9545 | Pos | Yes | - | pos | No |  |  | yes
60 | - | Neg | Yes | 16.9008 | Neg | No | - | Neg | Yes
61 | 34.896 | Neg | No | 29.8092 | Pos | Yes | - | Pos | No |  |  | yes
62 | - | Neg | Yes | 20.3017 | Neg | No | - | Neg | Yes
63 | 36.05 | Neg | No | 28.1915 | Neg | No | - | Neg | Yes
64 | - | Neg | Yes | 27.9507 | Pos | Yes | - | Pos | No |  |  | yes
65 | 32.72 | Neg | No | 27.84 | Neg | No | - | Neg | Yes
66 | 31.6682 | Neg | No | 28.0298 | Neg | No | - | Neg | Yes
67 | - | Neg | Yes | 27.8355 | Neg | No | - | Neg | Yes
68 | 36.0982 | Neg | No | 26.6373 | Neg | No | - | Neg | Yes
69 | - | Neg | Yes | - | Neg | Yes | - | Neg | Yes
70 | - | Neg | Yes | 30.8411 | Neg | No | - | Neg | Yes
71 | - | Neg | Yes | 31.2517 | Neg | No | - | Neg | Yes
72 | 33.0211 | Neg | No | - | Neg | Yes | - | Neg | Yes
73 | 35.3401 | Neg | No | - | Neg | Yes | - | Neg | Yes
74 | 32.5749 | Neg | No | - | Neg | Yes | - | Neg | Yes
75 | - | Neg | Yes | 17.9913 | Pos | Yes | - | Pos | No |  |  | yes
76 | 27.0839 | Neg | No | 27.1361 | Neg | No | - | Neg | Yes
77 | 26.1383 | Neg | No | 27.8007 | Neg | No | - | Neg | Yes
78 | 35.8896 | Neg | No | 25.3042 | Neg | No | - | Neg | Yes
79 | - | Neg | Yes | 15.7657 | Pos | Yes | - | Pos | No |  |  | yes
80 | 36.82 | Neg | No | 21.4858 | Pos | Yes | - | Neg | Yes
81 | 28.6992 | Neg | No | 25.8014 | Neg | No | - | Neg | Yes
82 | 28.6795 | Pos | Yes | 26.281 | Neg | No | - | Neg | Yes
83 | 28.8435 | Pos | Yes | - | Neg | Yes | - | Neg | Yes
84 | 22.1871 | Pos | Yes | 31.6467 | Pos | Yes | - | Neg | Yes
85 | 23.8167 | Neg | No | - | Pos | No | - | Neg | Yes
86 | 24.8036 | Neg | No | 29.5951 | Pos | Yes | - | Neg | Yes
87 | 22.8389 | Neg | No | 21.8308 | Pos | Yes | - | Neg | Yes
88 | 17.0484 | Neg | No | 30.9272 | Pos | Yes | - | Neg | Yes
89 | 26.3339 | Pos | Yes | 30.3912 | Neg | No | - | Neg | Yes
90 | 25.6847 | Neg | No | 31.5104 | Pos | Yes | - | Neg | Yes
91 | 28.0213 | Pos | Yes | 31.6834 | Neg | No | - | Neg | Yes
92 | 28.3687 | Pos | Yes | 30.65 | Neg | No | - | Neg | Yes
93 | 33.5896 | Pos | Yes | - | Neg | Yes | - | Neg | Yes
94 | 35.4801 | Pos | Yes | - | Neg | Yes | - | Neg | Yes
95 | 33.3521 | Neg | No | - | Neg | Yes | - | Pos | No
96 | 30.0559 | Pos | Yes | - | Neg | Yes | - | Neg | Yes
97 | 33.7887 | Pos | Yes | 22.9914 | Pos | Yes | - | Neg | Yes
98 | 24.8498 | Pos | Yes | 23.431 | Pos | Yes | - | Neg | Yes
99 | 29.0091 | Pos | Yes | 29.0357 | Pos | Yes | 31.73 | Neg | No | yes | yes
100 | - | Neg | Yes | - | Neg | Yes | 30.1183 | Pos | Yes
101 | - | Neg | Yes | - | Neg | Yes | - | Pos | No
102 | - | Neg | Yes | 22.7072 | Pos | Yes | - | Neg | Yes
103 | - | Neg | Yes | 23.9188 | Pos | Yes | - | Neg | Yes
104 | 31.5062 | Neg | No | 23.5249 | Neg | No | - | Neg | Yes
105 | 36.4292 | Neg | No | 30.0044 | Neg | No | - | Neg | Yes
106 | 33.8527 | Neg | No | 29.4631 | Neg | No | - | Neg | Yes
107 | 32.726 | Pos | Yes | 28.6973 | Neg | No | - | Neg | Yes
108 | 33.7829 | Pos | Yes | 30.9436 | Neg | No | - | Neg | Yes
109 | 35.3279 | Pos | Yes | - | Neg | Yes | - | Neg | Yes
110 | 36.1222 | Pos | Yes | 16.0888 | Neg | No | - | Neg | Yes
111 | 31.3775 | Pos | Yes | 27.9708 | Neg | No | - | Neg | Yes
112 | - | Neg | No | - | Neg | Yes | - | Neg | Yes
113 | 35.0013 | Neg | No | - | Neg | Yes | - | Neg | Yes
114 | - | Neg | No | - | Neg | Yes | 29.6379 | Pos | Yes
115 | - | Neg | No | - | Neg | Yes | 29.6032 | Pos | Yes
116 | - | Neg | No | - | Neg | Yes | 31.7783 | Pos | Yes
117 | 35.1282 | Neg | No | - | Neg | Yes | 24.3188 | Pos | Yes
118 | - | Neg | Yes | - | Neg | Yes | - | Pos | No
119 | - | Neg | Yes | - | Neg | Yes | 29.2209 | Pos | Yes
120 | 30.7614 | Neg | No | 23.5107 | Pos | Yes | - | Neg | Yes
121 | 25.8266 | Pos | Yes | - | Pos | No | - | Neg | Yes